| School/Site | Teachers/Inspectors Name | Date |
| --- | --- | --- |

Y = Yes	N = No	n/a = not applicable

| Wood Shop Inspection - General | Y | N | n/a | Corrective Actions |
| --- | --- | --- | --- | --- |
| Is the Wood shop in good condition |  |  |  |  |
| Are standard emergency eye wash and / or emergency showers provided and tested |  |  |  |  |
| Are all Fire extinguishers in good condition |  |  |  |  |
| Was housekeeping was found to be satisfactory |  |  |  |  |
| Are equipment guards in place |  |  |  |  |
| Have standard security measures (fall protection) been provided for all equipment |  |  |  |  |
| Are standard safe zones and nonslip areas maintained around all equipment |  |  |  |  |
| Are all electrical outlets, cover plates in good condition |  |  |  |  |
| Are extension cords in good condition and used for temporary purposes only |  |  |  |  |
| Have standard up to date SDS sheets been provided for all materials utilised in the shop |  |  |  |  |
| Are flammables and combustible liquids stored safely |  |  |  |  |
| Was the finishing room found to be in good condition with proper isolation, ventilations and electrical |  |  |  |  |
| Is the dust collector in good condition and operating as required |  |  |  |  |
| Are procedures in place to ensure no mixed use of equipment in shops Example - wood mixed with metal. Grinder use in a wood shop, etc. |  |  |  |  |
| Are designated fire exits free and clear with no barriers to access |  |  |  |  |
| Wood Shop Inspection - General | Y | N | n/a | Corrective Actions |
| Are all fire exit lights in good condition |  |  |  |  |
| Are standard first aid kits, fire blankets, PPE and other related safety equipment provided |  |  |  |  |
| Has an emergency response plan been developed for the shops |  |  |  |  |